METHODS AND CRITERIA OVERVIEW

	DEVELOP
	OPERATING LIMITS,
	PROC. & GUIDES
	IMPLEMENT
	PLAN
	CONTINGENCY
	ANALYSIS
	IMPLEMENT
	EMERGENCY
	ACTIONS
	OPERATE
	UNDER NORMAL
	TRANSFER
	CONDITIONS
	IMPLEMENT
	NORMAL
	ACTIONS
	OPERATION
	OPERATE
	UNDER
	EMERGENCY
	CONDITIONS
	MONITOR
	MONITOR
	MONITOR
	MONITOR
	YES
	YES
	YES
	NO
	NO
	NO
	NO
	YES

NORMAL
ACTIONS
AVAILABLE?

	YES
	YES
	YES
	MONITOR
OP 19 App A.rtf
4/19/98
NO
	MONITOR
NO

CRITICAL TO BULK
POWER
TRANSFERS

ANALYSIS

NORMAL
CRITERIA
VIOLATED?

TIMELY NORMAL
ACTION
AVAILABLE?

WAS PLAN OF
ACTION
PREPARED?

EMERGENCY
CRITERIA
VIOLATED?

DELEGATE TO
APPROPRIATE
SATELLITE

LOW IMPACT
ONLY

AFFECT
AREAS EXTERNAL
TO NEPOOL

AFFECT LARGE AREAS  NTERNAL TO NEPOOL

NO

YES