ATTACHMENT 1A   	    		INTERPOOL TRANSMISSION FACILITIES

    NEW YORK – NEW ENGLAND

  NEW ENGLAND WORK
            TRANSMISSION OUTAGE COORDINATION – ADVANCE NOTICE MAINTENANCE APPLICATIONS

  SATELLITE

       ISO NE

NEW YORK
COMPANY

     
      NYPP

    NEPOOL
PARTICIPANT
 (APPLICANT)

SUBMIT APPLICATION

*  t ≥ 41 – 92 HOURS

NOTIFICATION FOR PRELIMINARY APPROVAL / DISAPPROVAL

SUBMIT APPLICATION

*  t ≥ 41 – 92 HOURS

SUBMIT APPLICATION

THE OUTAGE REQUEST IS NOW STUDIED BY ISO NE, THE SATELLITE & NYPP TO DETERMINE ANY IMPACT ON SYSTEM SECURITY IN NE OR NY.  CORRECTIVE DISPATCH ACTION IS IDENTIFIED TO PROVIDE SYSTEM RELIABILITY

APPROVAL / DISAPPROVAL

APPROVAL / DISAPPROVAL

APPROVAL / DISAPPROVAL

**  t ≥ 20 HOURS

NOTIFICATION OF FINAL APPROVAL / DISAPPROVAL

*       REPRESENTS NUMBER OF HOURS PRIOR TO THE OUTAGE START TIME.  TIME MAY VARY WITH THE DAY OF THE WEEK AS OUTLINED IN SATELLITE PROCEDURES.
**     REPRESENTS NUMBER OF HOURS PRIOR TO THE OUTAGE START TIME AS OUTLINED IN ISO-NE OP3

NOTE:  IF AN APPLICATION IS DISAPPROVED  AT ANY POINT IN THIS PROCESS, A NEW APPLICATION IS SUBMITTED TO SCHEDULE THE WORK ON AN ALTERNATE DATE. 
																		6/12/98
ATTACHMENT 1B   	    		INTERPOOL TRANSMISSION FACILITIES

    NEW YORK – NEW ENGLAND

  NEW YORK WORK
            TRANSMISSION OUTAGE COORDINATION – ADVANCE NOTICE MAINTENANCE APPLICATIONS

     
      NYPP
(APPLICANT)

  SATELLITE

       ISO NE

NEW YORK
COMPANY

    NEPOOL
PARTICIPANT

NOTIFICATION FOR PRELIMINARY APPROVAL / DISAPPROVAL

SUBMIT APPLICATION

       NOTIFICATION

*  t ≥ 40 HOURS

THE OUTAGE REQUEST IS NOW STUDIED BY ISO NE, THE SATELLITE & NYPP TO DETERMINE ANY IMPACT ON SYSTEM SECURITY IN NE OR NY.  CORRECTIVE DISPATCH ACTION IS IDENTIFIED TO PROVIDE SYSTEM RELIABILITY

APPROVAL / DISAPPROVAL

APPROVAL / DISAPPROVAL

APPROVAL / DISAPPROVAL

*  t ≥ 20 HOURS

NOTIFICATION OF APPROVAL / DISAPPROVAL

NOTIFICATION OF FINAL APPROVAL / DISAPPROVAL

*     REPRESENTS NUMBER OF HOURS PRIOR TO THE OUTAGE START TIME AS OUTLINED IN ISO-NE OP3

NOTE:  IF AN APPLICATION IS DISAPPROVED  AT ANY POINT IN THIS PROCESS, A NEW APPLICATION IS SUBMITTED TO SCHEDULE THE WORK ON AN ALTERNATE DATE. 

6/12/98
ATTACHMENT 1C   	    		INTERPOOL TRANSMISSION FACILITIES

    NEW BRUNSWICK – NEW ENGLAND

  NEW ENGLAND WORK
            TRANSMISSION OUTAGE COORDINATION – ADVANCE NOTICE MAINTENANCE APPLICATIONS

  SATELLITE

       ISO NE

     
      NBEPC

    NEPOOL
PARTICIPANT
 (APPLICANT)

SUBMIT APPLICATION

*  t ≥ 41 – 92 HOURS

SUBMIT APPLICATION

*  t ≥ 41 – 92 HOURS

SUBMIT APPLICATION

THE OUTAGE REQUEST IS NOW STUDIED BY ISO NE, THE SATELLITE & NBEPC TO DETERMINE ANY IMPACT ON SYSTEM SECURITY IN NE OR NB.  CORRECTIVE DISPATCH ACTION IS IDENTIFIED TO PROVIDE SYSTEM RELIABILITY

APPROVAL / DISAPPROVAL

APPROVAL / DISAPPROVAL

APPROVAL / DISAPPROVAL

**  t ≥ 20 HOURS

NOTIFICATION OF FINAL APPROVAL / DISAPPROVAL

*       REPRESENTS NUMBER OF HOURS PRIOR TO THE OUTAGE START TIME.  TIME  MAY VARY WITH THE DAY OF THE WEEK AS OUTLINED IN SATELLITE PROCEDURES.
**     REPRESENTS NUMBER OF HOURS PRIOR TO THE OUTAGE START TIME AS OUTLINED IN ISO-NE OP3

NOTE:  IF AN APPLICATION IS DISAPPROVED  AT ANY POINT IN THIS PROCESS, A NEW APPLICATION IS SUBMITTED TO SCHEDULE THE WORK ON AN ALTERNATE DATE. 
																		6/12/98

ATTACHMENT 1D   	    		INTERPOOL TRANSMISSION FACILITIES

    NEW BRUNSWICK – NEW ENGLAND

  NEW BRUNSWICK WORK
            TRANSMISSION OUTAGE COORDINATION – ADVANCE NOTICE MAINTENANCE APPLICATIONS

     
      NBEPC
(APPLICANT)

    NEPOOL
PARTICIPANT

  SATELLITE

       ISO NE

SUBMIT APPLICATION

         NOTIFICATION

*  t ≥ 40 HOURS

THE OUTAGE REQUEST IS NOW STUDIED BY ISO NE, THE SATELLITE & NBEPC TO DETERMINE ANY IMPACT ON SYSTEM SECURITY IN NE OR NB.  CORRECTIVE DISPATCH ACTION IS IDENTIFIED TO PROVIDE SYSTEM RELIABILITY

APPROVAL / DISAPPROVAL

APPROVAL / DISAPPROVAL

APPROVAL / DISAPPROVAL

*  t ≥ 20 HOURS

NOTIFICATION OF APPROVAL / DISAPPROVAL

   NOTIFICATION OF FINAL APPROVAL / DISAPPROVAL

*     REPRESENTS NUMBER OF HOURS PRIOR TO THE OUTAGE START TIME AS OUTLINED IN ISO-NE OP3

NOTE:  IF AN APPLICATION IS DISAPPROVED  AT ANY POINT IN THIS PROCESS, A NEW APPLICATION IS SUBMITTED TO SCHEDULE THE WORK ON AN ALTERNATE DATE. 

																		6/12/98
ATTACHMENT 1E   	    		INTERPOOL TRANSMISSION FACILITIES

    HYDRO QUEBEC – NEW ENGLAND

  NEW ENGLAND WORK
            TRANSMISSION OUTAGE COORDINATION – ADVANCE NOTICE MAINTENANCE APPLICATIONS

  SATELLITE

       ISO NE

        HQ
       CER

     
        HQ
       CCR

    NEPOOL
PARTICIPANT
 (APPLICANT)

NOTIFICATION FOR PRELIMINARY APPROVAL / DISAPPROVAL

SUBMIT APPLICATION

SUBMIT APPLICATION

*  t ≥ 1200 HRS ON THURSDAY, 11 DAYS PRIOR TO THE CONTRACT WEEK

SUBMIT APPLICATION

THE OUTAGE REQUEST IS NOW STUDIED BY ISO NE, THE SATELLITE & HQ TO DETERMINE ANY IMPACT ON SYSTEM SECURITY IN NE OR HQ.  CORRECTIVE DISPATCH ACTION IS IDENTIFIED TO PROVIDE SYSTEM RELIABILITY

APPROVAL / DISAPPROVAL

*  t ≥ 1600 HRS ON FRIDAY, 10 DAYS PRIOR TO THE CONTRACT WEEK

APPROVAL / DISAPPROVAL

APPROVAL / DISAPPROVAL

           NOTIFICATION OF FINAL APPROVAL / DISAPPROVAL

*     REPRESENTS NUMBER OF HOURS PRIOR TO THE OUTAGE START TIME AS OUTLINED IN ISO-NE OP3

NOTE:  IF AN APPLICATION IS DISAPPROVED  AT ANY POINT IN THIS PROCESS, A NEW APPLICATION IS SUBMITTED TO SCHEDULE THE WORK ON AN ALTERNATE DATE. 

																		6/12/98
ATTACHMENT 1F   	    		INTERPOOL TRANSMISSION FACILITIES

    HYDRO QUEBEC – NEW ENGLAND

  HYDRO QUEBEC WORK
            TRANSMISSION OUTAGE COORDINATION – ADVANCE NOTICE MAINTENANCE APPLICATIONS

        HQ
       CCR
(APPLICANT)

  SATELLITE

       ISO NE

        HQ
       CER

    
    NEPOOL
PARTICIPANT

NOTIFICATION FOR PRELIMINARY APPROVAL / DISAPPROVAL

*  t ≥ 1200 HRS ON THURSDAY, 11 DAYS PRIOR TO THE CONTRACT WEEK

        NOTIFICATION

THE OUTAGE REQUEST IS NOW STUDIED BY ISO NE, THE SATELLITE & HQ TO DETERMINE ANY IMPACT ON SYSTEM SECURITY IN NE OR HQ.  CORRECTIVE DISPATCH ACTION IS IDENTIFIED TO PROVIDE SYSTEM RELIABILITY

APPROVAL / DISAPPROVAL

APPROVAL / DISAPPROVAL

*  t ≥ 1600 HRS ON FRIDAY, 10 DAYS PRIOR TO THE CONTRACT WEEK

APPROVAL / DISAPPROVAL

APPROVAL / DISAPPROVAL

           NOTIFICATION OF FINAL APPROVAL / DISAPPROVAL

*     REPRESENTS NUMBER OF HOURS PRIOR TO THE OUTAGE START TIME AS OUTLINED IN ISO-NE OP3

NOTE:  IF AN APPLICATION IS DISAPPROVED  AT ANY POINT IN THIS PROCESS, A NEW APPLICATION IS SUBMITTED TO SCHEDULE THE WORK ON AN ALTERNATE DATE. 

																		6/12/98
ATTACHMENT 1G   	    		INTER-SATELLITE TRANSMISSION FACILITIES

            TRANSMISSION OUTAGE COORDINATION – ADVANCE NOTICE MAINTENANCE APPLICATIONS

     ISO NE

    SATELLITE
   (APPLICANT)

     
      OTHER
  SATELLITE

NEPOOL
PARTICIPANT
(APPLICANT)

       SUBMIT APPLICATION

NOTIFICATION FOR PRELIMINARY APPROVAL/DISAPPROVAL

      *  t ≥ 41 - 92 HOURS

    SUBMIT APPLICATION

      **  t ≥ 40 HOURS

THE OUTAGE REQUEST IS NOW STUDIED BY ISO NE AND THE  SATELLITE  TO DETERMINE ANY IMPACT ON SYSTEM SECURITY.  CORRECTIVE DISPATCH ACTION IS IDENTIFIED TO PROVIDE SYSTEM RELIABILITY

  APPROVAL / DISAPPROVAL

      **  t ≥ 20 HOURS

APPROVAL / DISAPPROVAL

   NOTIFICATION OF APPROVAL / DISAPPROVAL

*     REPRESENTS NUMBER OF HOURS PRIOR TO THE OUTAGE START TIME.  TIME MAY VARY WITH THE DAY OF THE WEEK AS OUTLINED IN SATELLITE PROCEDURES.
**   REPRESENTS NUMBER OF HOURS PRIOR TO THE OUTAGE START TIME AS OUTLINED IN ISO-NE OP3

NOTE:  IF AN APPLICATION IS DISAPPROVED  AT ANY POINT IN THIS PROCESS, A NEW APPLICATION IS SUBMITTED TO SCHEDULE THE WORK ON AN ALTERNATE DATE. 

																		6/12/98
ATTACHMENT 1H   	    		INTER-SATELLITE TRANSMISSION FACILITIES

INTER – COMPANY WORK    
            TRANSMISSION OUTAGE COORDINATION – ADVANCE NOTICE MAINTENANCE APPLICATIONS

       OTHER
       NEPOOL
PARTICIPANT (S)   

     ISO NE

   SATELLITE

   NEPOOL 
PARTICIPANT
(APPLICANT)

NOTIFICATION FOR PRELIMINARY APPROVAL / DISAPPROVAL

       SUBMIT APPLICATION

      *  t ≥ 41 - 92 HOURS

    SUBMIT APPLICATION

      **  t ≥ 40 HOURS

THE OUTAGE REQUEST IS NOW STUDIED BY ISO NE AND THE  SATELLITE  TO DETERMINE ANY IMPACT ON SYSTEM SECURITY.  CORRECTIVE DISPATCH ACTION IS IDENTIFIED TO PROVIDE SYSTEM RELIABILITY

  APPROVAL / DISAPPROVAL

      **  t ≥ 20 HOURS

   NOTIFICATION OF FINAL APPROVAL / DISAPPROVAL

*     REPRESENTS NUMBER OF HOURS PRIOR TO THE OUTAGE START TIME.  TIME MAY VARY WITH THE DAY OF THE WEEK AS OUTLINED IN SATELLITE PROCEDURES.
**   REPRESENTS NUMBER OF HOURS PRIOR TO THE OUTAGE START TIME AS OUTLINED IN ISO-NE OP3.

NOTE:  IF AN APPLICATION IS DISAPPROVED  AT ANY POINT IN THIS PROCESS, A NEW APPLICATION IS SUBMITTED TO SCHEDULE THE WORK ON AN ALTERNATE DATE. 

																		6/12/98
ATTACHMENT 1I   	    		INTER-SATELLITE TRANSMISSION FACILITIES

INTER – COMPANY WORK    
            TRANSMISSION OUTAGE COORDINATION – ADVANCE NOTICE MAINTENANCE APPLICATIONS

   NEPOOL 
PARTICIPANT
(APPLICANT)

   SATELLITE

     ISO NE

       SUBMIT APPLICATION

             *  t ≥ 41 - 92 HOURS

    SUBMIT APPLICATION

      **  t ≥ 40 HOURS

THE OUTAGE REQUEST IS NOW STUDIED BY ISO NE AND THE  SATELLITE  TO DETERMINE ANY IMPACT ON SYSTEM SECURITY.  CORRECTIVE DISPATCH ACTION IS IDENTIFIED TO PROVIDE SYSTEM RELIABILITY

  APPROVAL / DISAPPROVAL

          **  t ≥ 20 HOURS

 NOTIFICATION OF APPROVAL / DISAPPROVAL

*     REPRESENTS NUMBER OF HOURS PRIOR TO THE OUTAGE START TIME.  TIME MAY VARY WITH THE DAY OF THE WEEK AS OUTLINED IN SATELLITE PROCEDURES.
**   REPRESENTS NUMBER OF HOURS PRIOR TO THE OUTAGE START TIME AS OUTLINED IN ISO-NE OP3

NOTE:  IF AN APPLICATION IS DISAPPROVED  AT ANY POINT IN THIS PROCESS, A NEW APPLICATION IS SUBMITTED TO SCHEDULE THE WORK ON AN ALTERNATE DATE. 

																		6/12/98